## NEC 2023
S.no | Category | Equipment | Label number
1 | Module | DC Module
2 | Module | AC Module
3 | Inverter | Microinverter
4 | Inverter | Inverter | LF-358
LF-380
5 | Optimizer | Optimizer
6 | Combiner | Combiner | LF-372
LF-176
LF-358
7 | MID | MID
8 | Disconnect | AC Battery Disconnect | LF-220
9 | Disconnect | EVCS Disconnect
10 | Disconnect | AC Disconnect | LF-377
LF-176
LF-358
11 | Disconnect | Service Disconnect | LF-191
12 | Disconnect | DC Disconnect | LF-312
13 | Disconnect | DC Battery Disconnect | LF-220
14 | Panel | Load Center | LF-176
15 | Panel | Sub Panel
16 | Panel | Meter Main Combo | LF-191
17 | Panel | MSP | LF-191
18 | Panel | Backup Load Panel
19 | Meter | Utility Meter | LF-191
20 | Meter | Production Meter | LF-393
21 | Battery | DC Battery | LF-220
22 | Battery | AC Battery | LF-220
23 | EVCS | EVCS
24 | Generator | Generator
25 | Transfer switch | ATS
26 | Transfer switch | MTS
27 | Other | Meter Socket Adapter
28 | Junction box | Junction Box | LF-299
29 | Junction box | Tap box
30 | Junction box | Raceway, Conduit | LF-299
31 | Point of interconnection | With Battery | LF-314
LF-377
LF-176
LF-363
LF-175

## NEC 2020
S.no | Category | Equipment | Label number
1 | Module | DC Module
2 | Module | AC Module
3 | Inverter | Microinverter
4 | Inverter | Inverter | LF-358
LF-380
5 | Optimizer | Optimizer
6 | Combiner | Combiner | LF-372
LF-176
LF-358
7 | MID | MID
8 | Disconnect | AC Battery Disconnect | LF-220
9 | Disconnect | EVCS Disconnect
10 | Disconnect | AC Disconnect | LF-377
LF-176
LF-358
11 | Disconnect | Service Disconnect | LF-191
12 | Disconnect | DC Disconnect | LF-312
13 | Disconnect | DC Battery Disconnect | LF-220
14 | Panel | Load Center | LF-176
15 | Panel | Sub Panel
16 | Panel | Meter Main Combo | LF-191
17 | Panel | MSP | LF-191
18 | Panel | Backup Load Panel
19 | Meter | Utility Meter | LF-191
20 | Meter | Production Meter | LF-393
21 | Battery | DC Battery | LF-220
22 | Battery | AC Battery | LF-220
23 | EVCS | EVCS
24 | Generator | Generator
25 | Transfer switch | ATS
26 | Transfer switch | MTS
27 | Other | Meter Socket Adapter
28 | Junction box | Junction Box | LF-299
29 | Junction box | Tap box
30 | Junction box | Raceway, Conduit | LF-299
31 | Point of interconnection | With Battery | LF-314
LF-377
LF-176
LF-363
LF-175

## NEC 2017
S.no | Category | Equipment | Label number
1 | Module | DC Module
2 | Module | AC Module
3 | Inverter | Microinverter
4 | Inverter | Inverter
LF-306
5 | Optimizer | Optimizer
6 | Combiner | Combiner | LF-372
LF-176
7 | MID | MID
8 | Disconnect | AC Battery Disconnect | LF-221
9 | Disconnect | EVCS Disconnect
10 | Disconnect | AC Disconnect | LF-377
LF-176
11 | Disconnect | Service Disconnect | LF-191
12 | Disconnect | DC Disconnect | LF-312
13 | Disconnect | DC Battery Disconnect | LF-221
14 | Panel | Load Center | LF-176
15 | Panel | Sub Panel
16 | Panel | Meter Main Combo | LF-191
LF-358
17 | Panel | MSP | LF-191
LF-358
18 | Panel | Backup Load Panel
19 | Meter | Utility Meter | LF-191
LF-358
20 | Meter | Production Meter | LF-393
21 | Battery | DC Battery | LF-221
22 | Battery | AC Battery | LF-221
23 | EVCS | EVCS
24 | Generator | Generator
25 | Transfer switch | ATS
26 | Transfer switch | MTS
27 | Other | Meter Socket Adapter
28 | Junction box | Junction Box | LF-299
29 | Junction box | Tap box
30 | Junction box | Raceway, Conduit | LF-299
31 | Point of interconnection | With Battery | LF-314
LF-377
LF-176
LF-363
LF-175

## NEC 2014
NEC 2014
S.no | Category | Equipment | Label number
1 | Module | DC Module
2 | Module | AC Module
3 | Inverter | Microinverter
4 | Inverter | Inverter | LF-198
LF-370
5 | Optimizer | Optimizer
6 | Combiner | Combiner | LF-372
LF-176
7 | MID | MID
8 | Disconnect | AC Battery Disconnect | LF-221
9 | Disconnect | EVCS Disconnect
10 | Disconnect | AC Disconnect | LF-377
LF-176
11 | Disconnect | Service Disconnect
12 | Disconnect | DC Disconnect | LF-198
LF-370
LF-312
13 | Disconnect | DC Battery Disconnect | LF-221
14 | Panel | Load Center | LF-176
15 | Panel | Sub Panel
16 | Panel | Meter Main Combo | LF-357
17 | Panel | MSP | LF-357
18 | Panel | Backup Load Panel
19 | Meter | Utility Meter
LF-357
20 | Meter | Production Meter
21 | Battery | DC Battery | LF-221
22 | Battery | AC Battery | LF-221
23 | EVCS | EVCS
24 | Generator | Generator
25 | Transfer switch | ATS
26 | Transfer switch | MTS
27 | Other | Meter Socket Adapter
28 | Junction box | Junction Box | LF-299
29 | Junction box | Tap box
30 | Junction box | Raceway, Conduit | LF-299
31 | Point of interconnection | With Battery | LF-314
LF-377
LF-176
LF-363
LF-175

## NEC 2011
S.no | Category | Equipment | Label number
1 | Module | DC Module
2 | Module | AC Module
3 | Inverter | Microinverter
4 | Inverter | Inverter | LF-198
LF-370
5 | Optimizer | Optimizer
6 | Combiner | Combiner | LF-372
LF-176
7 | MID | MID
8 | Disconnect | AC Battery Disconnect | LF-220
LF-308
9 | Disconnect | EVCS Disconnect
10 | Disconnect | AC Disconnect | LF-377
LF-176
11 | Disconnect | Service Disconnect
12 | Disconnect | DC Disconnect | LF-198
LF-370
LF-312
13 | Disconnect | DC Battery Disconnect | LF-220
LF-308
14 | Panel | Load Center | LF-176
15 | Panel | Sub Panel
16 | Panel | Meter Main Combo
17 | Panel | MSP
18 | Panel | Backup Load Panel
19 | Meter | Utility Meter
20 | Meter | Production Meter
21 | Battery | DC Battery | LF-220
22 | Battery | AC Battery | LF-220
23 | EVCS | EVCS
24 | Generator | Generator
25 | Transfer switch | ATS
26 | Transfer switch | MTS
27 | Other | Meter Socket Adapter
28 | Junction box | Junction Box | LF-299
29 | Junction box | Tap box
30 | Junction box | Raceway, Conduit | LF-299
31 | Point of interconnection | With Battery | LF-314
LF-377
LF-176
LF-363
LF-175

## CEC 2022
S.no | Category | Equipment | Label number
1 | Module | DC Module
2 | Module | AC Module
3 | Inverter | Microinverter
4 | Inverter | Inverter | LF-173
LF-358
LF-380
LF-379
5 | Optimizer | Optimizer
6 | Combiner | Combiner | LF-372
LF-176
LF-358
7 | MID | MID
8 | Disconnect | AC Battery Disconnect | LF-220
9 | Disconnect | EVCS Disconnect
10 | Disconnect | AC Disconnect | LF-176
LF-290
LF-377
LF-358
LF-379
11 | Disconnect | Service Disconnect | LF-191
12 | Disconnect | DC Disconnect | LF-173
13 | Disconnect | DC Battery Disconnect | LF-220
14 | Panel | Load Center | LF-176
15 | Panel | Sub Panel
16 | Panel | Meter Main Combo | LF-191
17 | Panel | MSP | LF-191
18 | Panel | Backup Load Panel
19 | Meter | Utility Meter | LF-191
20 | Meter | Production Meter | LF-393
21 | Battery | DC Battery | LF-220
22 | Battery | AC Battery | LF-220
23 | EVCS | EVCS
24 | Generator | Generator
25 | Transfer switch | ATS
26 | Transfer switch | MTS
27 | Other | Meter Socket Adapter
28 | Junction box | Junction Box | LF-299
LF-379
29 | Junction box | Tap box
30 | Junction box | Raceway, Conduit | LF-299
31 | Point of interconnection | With Battery | LF-314
LF-176
LF-290
LF-377
LF-363
LF-362